Response to Technical Questions - ITB #2015-03

Hickory Park Lift Station Replacement

Response to Technical Questions

Q. Is this project requiring bypass two pumps?

A. Yes, a redundant system is required.

Q. Do the area residents know that the pump will be running 24 hours?

A. The residents will be notified by the County however, the bypass pump specification call for a Thompson Silent Night or equivalent.

Q. What type of shop should the control panel be sent to?

A. UL shop for UL labels to be reapplied

Q. Who will be responsible for locating manhole?

A. The County will be responsible for locating the manhole due to it being in the middle of the road. The road will be closed and the County will provide and establish barricades.

Q. What is the total budgeted amount for this project?

A. $350,000

Q. Does the wall surrounding project area have a roof on it?

A. No

Q. Is there a roll up door on it; if so how big?

A. Yes, it has a roll up door and it is 9ft 6 inches.

Q. Is there an odor control station on this lift station?

A. Yes, there is an odor control station that needs to stay in place but the piping will need to be removed and then reinstalled.

Questions?  Please contact Katie Taff 850.926.0919. Ext. 704