Workshop on Cluster System for Wastewater Treatment

August 20, 2009, 6:00 to 8:00 PM

County Commission Chambers

29 Arran Road, Crawfordville, FL

Workshop Purpose

1)  	Present accurate data and information on the effectiveness of cluster systems

4) 	Compare the appropriateness of central sewer vs. cluster systems for Wakulla Gardens

2) 	Identify when/where cluster systems should be used (as options; in addition to central sewer or individual onsite systems), e.g. Live Oak Island and other areas

5) 	Consider management options for cluster systems

6) 	Suggest next steps for Wakulla County

Workshop Agenda

6:00	Opening

Introductions

Welcome and workshop purpose – Commissioner Howard Kessler and/or Lynn Artz

The question: should a cluster system be used for wastewater treatment?

Introduce criteria and treatment system comparison table

Workshop Agenda and Guidelines – Tom Taylor

6:10	How Do the Treatment Systems Compare?

Brief presentation on cluster systems – Pio Lombardo

How would a cluster system be designed for Wakulla Gardens (and Live Oak Island)?

Evaluation information on cluster systems for Wakulla Gardens – Pio Lombardo

Evaluation information on sewer systems – Who?

Test the acceptability of the options

Identify concerns, solicit suggestions for addressing them and retest

Consider refinements of comparisons in the chart for Wakulla Gardens

Summarize what more we need to know and next steps

7:10	Where are Cluster Systems Appropriate

Review and refine location criteria

Identify potential areas: Live Oak Island, others?

Determine next steps to explore possibilities

7:20	How Should Cluster Systems be Managed?

What are the options: HO Assn, local utility district, non-profit, County

Present and refine comparison of the options

Test the acceptability of the options

Identify concerns, solicit suggestions for addressing them and retest

Identify what more we need to know/next steps?

7:50	Closing

Summary of workshop activities, results and next steps

Concluding comments from participants and sponsors

8:00	Adjourn

Waste Treatment Options

Onsite Treatment and Disposal Systems (Traditional and PBTS)

Onsite systems collect, treat, and disperse wastewater on an individual property. Onsite systems are associated with low-density communities and developments such as rural residential and small commercial developments (such as village centers). Onsite systems generally consist of a treatment device (for example, a septic tank) and a subsurface dispersal system, but they can include many other components, such as secondary and tertiary treatment systems and drip dispersal systems. Traditional septic tanks have a single chamber and performance based treatment systems (PBTS) usually have multiple chambers and electrical pumps.

Centralized Wastewater Systems

Centralized systems are associated with high-density communities and developments such as cities and commercial areas. They generally consist of a collection system that gathers and transports wastewater from multiple generation points to one or more large centralized treatment facilities. These systems transport treated effluent to one or more points of dispersal, where it is typically returned to surface or ground waters.

Cluster Wastewater Systems

Cluster systems can serve a small to large number of connections (two to hundreds of structures). Smaller cluster systems serving a few structures resemble onsite systems, while large cluster systems serving hundreds of structures tend to resemble centralized systems. Cluster systems generally disperse wastewater in subsurface dispersal systems, although surface discharge or water reuse is also practiced.

Acceptability Rating

5 = Support, 4 = Some Concerns, 3 = Neutral, 2 = Serious Concerns, 1 = Opposed

| System | 5 | 4 | 3 | 2 | 1 | Avg |
| --- | --- | --- | --- | --- | --- | --- |
| Sewer |  |  |  |  |  |  |
| Cluster |  |  |  |  |  |  |

System Comparison

| Criteria | Trad. OSTDS | PBTS OSTDS | Central Sewer | Cluster System |
| --- | --- | --- | --- | --- |
| System Characteristics |  |  |  |  |
| Collection | None | None | x-y” pipe | a-b” pipe |
| Treatment | Anerobic 1 chamber | Aerobic, 3+chambers | Aerobic ATU |  |
| Disposal | Drainfield Onsite | Drainfield Drip, Onsite | Spray Discharge Reuse | Drainfield Drip, Spray Reuse |
| Failure | May be unnoticed Isolated | Periodic inspections Isolated | Monitored 24/7 Area Large | Monitored 24/7 Area Smaller |
| Environmental impacts |  |  |  |  |
| Prevent fecal coli form in drinking, surface and ground water | Good | Good | Good | Good |
| Reduce nutrients in drinking, surface and ground water | Poor | 10 MG/L 3 w/drip | Oyster bay? | 3 MG/L at outflow |
| Recharge of aquifer | Yes | Yes | No? | Yes |
| Allows sustainable compact development | No | No | Yes | Yes |
| Economic cost of closed springs & beaches | Highest Potential | Better | Good | Best? |
| Loss of jobs and business |  |  |  |  |
| Loss of property value from lower QOL |  |  |  |  |
| Loss of property and sales tax revenues |  |  |  |  |
| Health care cost of sickness, disease and death |  |  |  |  |
| Owner costs |  |  |  |  |
| Plumbing to the street |  |  | $1,500 | $1,500 |
| Initial cost of installation or hook-up |  |  | $3,8501 | $3-5,2002 |
| Initial system | NA | $6-10,000 | $ |  |
| Annual fees: electricity, maintenance, etc |  |  | $7543 | $4-6002 |
| Property value |  | Less | More | More |
| Government impacts |  |  |  |  |
| Capital costs | 0 | 0 |  | $13-15,0002 |
| Operating costs | 0 | 0 |  |  |
| Administrative costs |  |  |  |  |
| Control of operation and maintenance | Owner | Owner | Central | Central |
| Site Conditions |  |  |  |  |
| Lot sizes/density | 1-3+ A | 1-3+ A | Sm/dense | Sm/dense |
| Separation from groundwater | 2 feet | 2 feet | NA | NA |
| Distance from a water body | 75+ ft | 75+ feet | NA | NA |

1 Wakulla Co

2 Eutaw Utilities $19 for 1st 1000g + $2.53/g x 18g = $64.54/mo > 774.48/yr (New rate Oct ’09)

3 Lombardo and Associates

How Should Cluster Systems be Managed?

| Criteria | Homeowner Association | Local Utility Authority | Non-Profit e.g. Talquin | County Utility |
| --- | --- | --- | --- | --- |
| Who owns and is liable | Owners | Owners | Coop | County |
| Monthly/Annual Cost |  |  |  |  |
| Potential for conflicts |  |  |  |  |
| Qualification for grants/support | No | Yes | Yes | Yes |
| Financial stability |  |  |  |  |

Comparison of Onsite, Sewer and Cluster Sewage Treatment and Disposal Systems (OSTDS)

| Issue | OSTDS | Sewer | Cluster |
| --- | --- | --- | --- |
| Cost | Generally low cost for passive system: $3,000 to $6,000 for standard 3 bedroom single family residence. Nitrogen reduction - $10,000 - $15,000. | High up front cost for construction of treatment facility and connection lines. Connection costs for family residence range from $2,500 to $20,000. |  |
| Maintenance and Monitoring | Homeowner responsible for monitoring and reporting problems. Minimum maintenance required. Inspection and pumpout ($250-$400) recommended mevery 3-5 years. EPA recommends management andmaintenance program for all onsite systems. | Minimizes homeowner responsibility. Homeowner not responsible for maintenance but pays monthly service charge based on usage. |  |
| Water Recharge | Provides for recharge on individual lots. | Takes effluent away from area to central location and disposal site. |  |
| System Life | Systems generally last from 15-25 years depending upon use and maintenance. | Requires ongoing maintenance of treatment plant and collection system. |  |
| Failures | Failures may be undetected but limited to small amounts (300 – 400 gallons per day). Failures generally isolated and limited to one specific site. | Monitored 24/7. Spills can be very large (1000 – 100,000 gallons) but monitored and reported. Line leaks may be undetected. Failures affect multiple homes and can potentially contaminate large areas. |  |
| Treatment | Technology currently limited to advanced secondary treatment. Significant increase in cost and mrequires ongoing maintenance mand oversight. | Advanced wastewater treatment. |  |
| Funding | Individual owner pays full cost, few funding options available. | More funding options – both loan and grant programs. |  |
| Upgrades | Upgrades less costly but impacts individual owners. | Upgrades costly but impact all owners over shorter time frame. |  |
| Development Options | Limits development options for site. Takes up physical space on site as well as requiring setbacks to wells and surface water and future modifications. Limits on flow and type of waste. Using cluster systems provides additional options for development. | Opens areas to development. Few limitations on lot size. Few limits on lot flow or type of waste. Requires land area for sprayfield |  |

Source: FL Department of Health website