# Board of County Commissioners

# Workshop

| Date of Meeting: | March 25, 2010 |
| --- | --- |
| Date Submitted: | March 18, 2010 |
| To: | Honorable Chairman and Members of the Board |
| From: | Lynn Artz, County Commissioner, District 5 |
| Subject: | Workshop To Discuss Nitrogen-Reducing Onsite Wastewater Treatment Systems |

# Statement of Issue:

This workshop is being held to discuss the effectiveness of nitrogen-reducing onsite wastewater treatment systems.

# Background/Description:

In 2006, Wakulla County passed a Karst Protection Ordinance (Ordinance 2006-58) requiring the installation of Performance Based Treatment Systems (PBTS) for new construction and to replace failing septic systems.  PBTS are onsite wastewater treatment systems that the Department of Health has rated as able to attain nitrogen levels of 10 mg/L or less in the treated effluent.  The installation costs of PBTS are considerably higher than conventional septic systems.

Researchers at FSU and DEP have been collecting data and evaluating the effectiveness of both conventional septic systems and PBTS in removing total nitrogen from wastewater.   Final results are available for conventional septic systems and interim results are now available for PBTS.

While selecting PBTS in Wakulla County for the study, the researchers encountered numerous issues of concern regarding the installation, operation, and maintenance of many systems.  Of 59 PBTS inspected, 23 (39%) were not operating as designed because they had been turned off by the homeowners, they had no electrical service, or they had not been properly constructed so that effluent could be inspected or sampled.  Only 27 systems were operating and could be sampled.

In addition, the treatment effectiveness of PBTS may not be a great as county officials expected.   PBTS installed in Wakulla County reduce nitrogen by 56% on average when properly installed and operating.  While this represents a substantial reduction in nitrogen, none of the systems are consistently achieving levels of 10 mg/L or less (as many expected).

# Analysis:

During the February 1, 2010 Board Meeting, the Board directed staff to schedule a workshop on March 25, 2010 to further discuss the effectiveness of nitrogen-reduced onsite wastewater treatment systems.

This workshop is intended to serve as an educational and informative workshop to provide the Board with an opportunity to better understand the study findings on the PBTS in Wakulla County.  In addition, researchers at FSU and DEP will be giving a presentation to the Board which will provide the Board an opportunity to ask questions and seek suggestions of the study team.

# Attachment(s):

- Wakulla County Septic Tank Study: Interim Report on Performance Based Treatment 	Systems

- UCF Study of passive approaches to nitrogen reduction